Truck Scale Application Questionnaire

Proposed scale installation address: 			Misc Notes:

__________________________

__________________________

__________________________

__________________________

General Questions…

- In what kind of business will the truck scale be used?

- Does the customer have other truck scales?

- What kind of commodities will be weighed?

- Are these commodities hazardous, caustic, or dangerous?

- How are the trucks loaded?  On the scale?

- Will the scale be used year round or seasonally?

- Approximately how many trucks per day will be weighed?

- Are the trucks being weighed road legal?

- Are the trucks weighed both inbound and outbound?

- How long does the customer expect the scale to last?

- How many hours per day, days per year will the scale be used?

- Are there any unusual environmental factors?

The Truck Scale . . .

- What scale length is necessary to accommodate the customer’s vehicles?  In 5 yrs?

- What scale width is necessary to accommodate the customer’s vehicles? In 5 yrs?

- What nominal capacity is necessary?  GVWR? In 5 Yrs?

- What is axle configuration of vehicles to be weighed? Single axle, Tandem, Triple?

- Are individual Axle weights of importance to the customer? If yes, significant cost is added to system.

- Will off-road vehicles be weighed on the scale?

- What is the customer preference, steel deck or concrete?

- What kind of delivery needs are required?  Crane?

- Are there any special paint or finish requirements?

- Is the standard 3 inches of cleanout space under the scale adequate or is more desired?

- Is headroom above the platform a problem? Power lines etc?

- Will traffic be bi-directional?

- Are rodents a problem?

- What options may be necessary

- Rub Rails?

- Standard 8 inch height above deck?

- Mine Health Safety Admin- 24 inch above deck?

- Man holes?

Instrumentation . . .

- Where will the instrument be located?

- How far from the scale will the instrument be located?

- Is there an operator or will the scale be unattended?

- Are there any special resolution or legal requirements?

- Is Gross-Tare-Net weighing required?

- How many storage locations for Gross or Tare Weights will be required?

- What kind of truck ID entry is necessary, Numeric or Alpha Numeric?

- Are there any special accessories required?

- Digital cutoff for filling operations?

- Special Interface for PLC’s etc?

- Special Software for ticket generation, inventory, invoicing?

- Special driver Prompts?

- Multiple Platform options?

- Traffic Control lights, gates, wheel sensors?

- Speakers or Microphones?

Printing Requirements . . .

- Is ticket or tape printer required?

- How should time and date be printed?

- Are existing tickets used?

- How many ticket copies are required?

- Are reports generated from this printer?

- Are tickets discrete or tractor feed?

- Is the printer located in an office environment?

- Are there any special printing requirements?

- Does the customer provide the tickets?

- Is the printed information in any special format?

- Is Gross-Tare-Net printing required?

Special Options . . .

- Will the scale instrument be connected to a computer?

- Are there any special software requirements?

- Are there any special reports necessary?

Truck Scale Foundation . . .

- Is the customer preparing site and installing their own foundation?

- Who is responsible for permitting?  Will permitting be required?

- Is there an existing foundation on which the new scale will be installed?

- What is the time frame available for foundation construction?

- What type of foundation is desired?  “Please indicate”

- Shallow Pier (Above ground)- 3,000 PSF soil loading capacity required

- Slab (Above Ground)- 1,500 PSF soil loading capacity required

- Shallow Pit- 3ft and 2,000 PSF soil loading capacity required

- Deep Pit- 5ft and 2,000 PSF soil loading capacity required

- Portable steel understructure(Above Ground)- “must be used with 10ft level approaches to be sealed as legal for trade device”

- Other:  please specify another special type of foundation

- Does the customer desire a concrete wash out beneath the scale?

- Does the customer desire protective posts on the entrance or exit ends?

- What is the soil bearing where the scale will be installed?

- Can the excavated material be disposed of on premises?

- Is there evidence of rock or other underground obstructions?

- What about sewer lines, water pipes, or electrical lines in the foundation area?

- Are there any special drainage considerations?

- Is there any side traffic alongside the scale?

- Are there ample approach and exit areas for the scale?  (Ramp to grade for above ground)

- Is there a turnaround area for drivers?

- Are there any special curbing requirements?

- What is the per yard cost of local concrete?

- Are there any special compacting or backfill requirements? De-mucking? Pilings to bedrock?

- Will the customer be unloading the scale?

- What are the conduit and cable transmission requirements?

- Is power available at the instrument location?

- Are there any special grounding requirements?

- Are there posts for stop lights or remote displays necessary?

- Who will furnish the anchor bolts and curbing angle?

Installation Requirements . . .

- What is the date required for the new scale?

- Will the customer be assisting with the installation?

- Is a crane available for installation?

- Are there any overhead or unusual obstructions?

- Is EC trade certification required?

- Can the installation be performed during normal working hours?

- Is there any special testing requirements?

- What instructional training is necessary? (Has your operator run a scale before?)

- Is there any special wiring requirements?

- Is there adequate access to the proposed foundation area?

- Are there any special tools required?

- Are all conduits and wire pulls baited?

- Is a sump pump required?

- How much time has been allotted for installation and start up?

Any quotations and subsequent equipment provided will be calculated utilizing information contained in the questionnaire.  If situations are found to be different than the information provided in this questionnaire pricing is subject to change.  Representative signing below also acknowledges that questions are answered correctly and to the best of his/her knowledge.

Representatives please sign below to acknowledge understanding.

______________________________ On behalf of _____________________________

Title __________________________

Dated: ____________

Sign below to acknowledge understanding.

______________________________ On behalf of Gulfstream Scale Company

Dated: ____________